CK ZAMEK GRAND HALL TECHNICAL SPECIFICATION

Dimensions: 
Length: 25 m (max. 27.5 m) 
Width: 16.5 m 
Height: 11 m 
Distance from the screen to the amphitheater audience 16-20 m

Curtains:

Black horizon 14x10m. pc 1

Black horizon 12x10m. pcs 2

Draped curtain 9x2m. pcs 6

Draped paludament 14x1.5 m. pc 1

Draped curtain 14x5m pc 2

Electrically steered curtain (up-down) 14x10m. (possibility to install backstage at 4 m, 6 m, 9 m from the screen)

Screen: 
Width: 12.4m 
Height: 6.7m 
Distance from the floor: 1.76m

Dance floor: 
black or white, 8 rolls 15x2m, area 16x15m

Trusses/pipes:

- sztankiet dekoracyjny - decoaration truss - can be used for decorations, scenery, screen and eventually for lights (but the channels are located in walls - 24 x 2kW for each side of hall); load capacity 250 kg. evenly loaded - 10 pcs

- sztankiet oświetlenia ogólnego - truss with general light – can be used only for (small) decorations, scenery, screen, NO LIGHTS!

- sztankiet oświetlenia technologicznego – light truss - 12 x 2kW channels on each one; load capacity 400 kg evenly loaded - 9 pcs

- sztankiet kurtyna – courtain truss - can be used for decorations, scenery, screen and eventually for lights (the channels are located in walls - 24 x 2kW for each side of hall), but this automatical courtain can’t be installed on another truss!!! we can put some curtain on other decoration truss - but it will be normal black curtain (piece of black material – canvas or velvet) without this special courtain’s system; 
load capacity 400 kg evenly loaded - 3 pcs